PG&E STATION CONST. TEST DEPT.

BASIC INFORMATION REQUIREMENTS

Name of Project:  R.W. Matthews Dam Hydroelectric Plant

Site Address:  40 Lower West Side Road, Ruth, CA 95526

Proposed Pre-Parallel Inspection and/or Testing Date: TBD Time: TBDAM/PM

Type of Unit(s):  Synchronous Hydro-Electric

Number of Units:  2

MW or KW:  1 MW ea.

Job/Accounting #8068216

PG&E CONTACTS

| Project Manager: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Phone #: |  | Cell #: |  | E-Mail: |  |

| Planning Engineer: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Phone #: |  | Cell #: |  | E-Mail: |  |

| Sys. Prot. Engineer: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Phone #: |  | Cell #: |  | E-Mail: |  |

| Switching Center: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Phone #: |  |  |  |  |  |

CLIENT CONTACTS

| Project Manager: | Rune Winn |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Phone #: | 415-308-0806 | Cell #: | 415-308-0806 | E-Mail: |  |

Rune.winn@vertivco.com

| Site Contact: | Ryan Chairez |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Phone #: | 707-822-2918 | Cell #: | 707-834-0323 | E-Mail: |  |

maint@hbmwd.com

| Design Engineer: | Mike Walton |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Phone #: | 714-514-5095 | Cell #: | 714-514-5095 | E-Mail: |  |

mike.walton@vertivco.com

| Testing Company: | Electrical Reliability Services |  |  |  |
| --- | --- | --- | --- | --- |
| Phone #: | 415-308-0806 |  |  |  |  |
| Tester: | Rune Winn |  |  |  |  |
| Phone #: | 415-308-0806 | Cell #: |  | E-Mail: |  |

Rune.winn@vertivco.com

BASIC NEEDS ASAP

MINIMUM OF TWO WEEKS PRIOR TO REQUESTED PRE-PARALLEL DATE

- SINGLE LINE METER AND RELAY DRAWING

- THREE LINE DRAWING

- DC SCHEMATIC (SHOWING TRIP & CLOSE CIRCUITS)

- COMPLETED AND ACCURATE DG-5 / PS-1 FORM (APPROVED BY PLANNING /PROTECTION

- ENGINEER)

- ANY & ALL TEST REPORTS AS OUTLINED IN SECTION G5 OF INTERCONNECTION HAND BOOK

- PROTECTION & CONTROL EQUIPMENT CERTIFICATION

- COPY OF ALL PERTINENT LETTERS / E-MAILS THAT AFFECT CONTROL & PROTECTION AS

- AGREED TO BY PG&E